## Inventoryy
Material | Description | Quantity
Cu 0.5 sqmm (Pin Type) | CUPBOARD . NO 0 (BOF) | 2500
Cu 0.75 sqmm (Pin Type ) | CUPBOARD . NO 0 (BOF) | 2500
Cu 2.5 sqmm ( U Type ) | CUPBOARD . NO 0 (BOF) | 3000
Cu 2.5 sqmm ( Ring Type ) | CUPBOARD . NO 0 (BOF) | 2500
Cu 2.5 sqmm ( Ring Type ), ( Long) | CUPBOARD . NO 0 (BOF) | 2500
Cu 4-6 sqmm (Ring Type) | CUPBOARD . NO 0 (BOF) | 4400
Cu 4-6 sqmm (Ring Type) (2.5) | CUPBOARD . NO 0 (BOF) | 1200
Cu 10 sqmm (Ring Type) | CUPBOARD . NO 0 (BOF) | 3000
Cu 16 sqmm (Ring Type ) (P) | CUPBOARD . NO 0 (BOF) | 1500
Cu 25 sqmm (Ring Type ) (P) | CUPBOARD . NO 0 (BOF) | 3200
Cu 35 sqmm (Ring Type ) (P) | CUPBOARD . NO 0 (BOF) | 1600
Cu 50 sqmm (Ring Type )(M) | CUPBOARD . NO 0 (BOF) | 700
Cu 70 sqmm (Ring Type )(M) | CUPBOARD . NO 0 (BOF) | 650
Cu 70 sqmm (Ring Type )(P) | CUPBOARD . NO 0 (BOF) | 80
Cu 95 sqmm (Ring Type )(M) | CUPBOARD . NO 0 (BOF) | 250
Cu 95 sqmm (Ring Type )(P) | CUPBOARD . NO 0 (BOF) | 200
Cu 120 sqmm (Ring Type ) ( M) | CUPBOARD . NO 0 (BOF) | 100
Cu 150 sqmm (Ring Type ) (P) | CUPBOARD . NO 0 (BOF) | 150
Cu 185 sqmm (ring Type ) | CUPBOARD . NO 0 (BOF) | 300
Central Processing Unit | CUPBOARD . NO 01 (BOF) | 2
Central Processing Unit | CUPBOARD . NO 01 (BOF) | 2
Connector | CUPBOARD . NO 01 (BOF) | 4
Communication Processor | CUPBOARD . NO 01 (BOF) | 7
Signal Module | CUPBOARD . NO 01 (BOF) | 2
Memory Card | CUPBOARD . NO 01 (BOF) | 4
Communication Processor | CUPBOARD . NO 01 (BOF) | 5
Central Processing Unit | CUPBOARD . NO 01 (BOF) | 4
Central Processing Unit | CUPBOARD . NO 01 (BOF) | 2
ABB Ability smart Sensor | CUPBOARD . NO 01 (BOF) | 2
Central Processing Unit | CUPBOARD . NO 01 (BOF) | 3
Communication Processor | CUPBOARD . NO 01 (BOF) | 4
Comm.Processor | CUPBOARD . NO 01 (BOF) | 1
Communication Processor Unit | CUPBOARD . NO 01 (BOF) | 2
Y- Coupler | CUPBOARD . NO 01 (BOF) | 7
Profibus DP | CUPBOARD . NO 01 (BOF) | 2
Dgital Output Module | CUPBOARD . NO 01 (BOF) | 12
Communication Module | CUPBOARD . NO 01 (BOF) | 4
CPU Module | CUPBOARD . NO 01 (BOF) | 4
Analog Output Module | CUPBOARD . NO 01 (BOF) | 5
Analog Input Module | CUPBOARD . NO 01 (BOF) | 5
Dgital Output Module | CUPBOARD . NO 01 (BOF) | 3
Dgital Input Module | CUPBOARD . NO 01 (BOF) | 3
Accessory Cabling Kit | CUPBOARD . NO 01 (BOF) | 20
Bus Plug | CUPBOARD . NO 01 (BOF) | 2
Communication Circuit Accrssories | CUPBOARD . NO 01 (BOF) | 9
Bus Unit | CUPBOARD . NO 01 (BOF) | 13
Sirius Safely Relay | CUPBOARD . NO 01 (BOF) | 7
IM Module | CUPBOARD . NO 01 (BOF) | 5
Sapety Protector | CUPBOARD . NO 01 (BOF) | 19
Analog otuput Module | CUPBOARD . NO 01 (BOF) | 5
Digital nput Module | CUPBOARD . NO 01 (BOF) | 15
Bus Connector | CUPBOARD . NO 01 (BOF) | 139
Digital Input Module | CUPBOARD . NO 01 (BOF) | 6
Digital Output Module | CUPBOARD . NO 01 (BOF) | 10
Analog Input Module | CUPBOARD . NO 01 (BOF) | 2
Digital Output Module | CUPBOARD . NO 01 (BOF) | 5
Repenter | CUPBOARD . NO 01 (BOF) | 6
weighing Module | CUPBOARD . NO 01 (BOF) | 8
IM Module | CUPBOARD . NO 01 (BOF) | 1
Basic Panel | CUPBOARD . NO 02 (BOF) | 1
D- Link Swich | CUPBOARD . NO 02 (BOF) | 3
Central Processing Unit | CUPBOARD . NO 02 (BOF) | 4
Central Processing Unit | CUPBOARD . NO 02 (BOF) | 1
Central Processing Unit | CUPBOARD . NO 02 (BOF) | 1
Connector | CUPBOARD . NO 02 (BOF) | 20
Connector | CUPBOARD . NO 02 (BOF) | 20
Blank Plate | CUPBOARD . NO 02 (BOF) | 4
Blank Plate | CUPBOARD . NO 02 (BOF) | 4
Blank Plate | CUPBOARD . NO 02 (BOF) | 1
Blank Plate | CUPBOARD . NO 02 (BOF) | 1
Prosoft | CUPBOARD . NO 02 (BOF) | 4
Analog Input Module | CUPBOARD . NO 02 (BOF) | 13
Conuter Module | CUPBOARD . NO 02 (BOF) | 5
Digital Output Module | CUPBOARD . NO 02 (BOF) | 12
Digital Output Module | CUPBOARD . NO 02 (BOF) | 28
Digital Output Module | CUPBOARD . NO 02 (BOF) | 6
Digital Output Module | CUPBOARD . NO 02 (BOF) | 3
Digital Output Module | CUPBOARD . NO 02 (BOF) | 26
Analog Input Module | CUPBOARD . NO 02 (BOF) | 4
Digital Output Module | CUPBOARD . NO 02 (BOF) | 10
Basic Panel | CUPBOARD . NO 02 (BOF) | 4
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
Windows Server Laysan | CUPBOARD . NO 02 (BOF) | 1
ABB | CUPBOARD . NO 02 (BOF) | 2
Baumer Passion For sensors | CUPBOARD . NO 02 (BOF) | 1
Simatic | CUPBOARD . NO 02 (BOF) | 1
Simatic Net | CUPBOARD . NO 02 (BOF) | 1
Install Driver User 's Guide | CUPBOARD . NO 02 (BOF) | 1
IBA -Softwere & Manuals | CUPBOARD . NO 02 (BOF) | 1
Microsoft Office Home & business 2016 | CUPBOARD . NO 02 (BOF) | 1
Driver Sanpshot 1.4 Live Disk Image Backup | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
Microsoft Corporation | CUPBOARD . NO 02 (BOF) | 1
CKT BRKR,MINI,2 P,6 A,0 TO 230 V,10 KA | CUPBOARD . NO 04 (BOF) | 102
MIDC 4 A, 1P | CUPBOARD . NO 04 (BOF) | 288
MCB 1P-C-6A | CUPBOARD . NO 04 (BOF) | 96
MCB 2P-C-6A | CUPBOARD . NO 04 (BOF) | 12
CKT BRKR,MINI,DP,16A,230/415VAC,10KA,C | CUPBOARD . NO 04 (BOF) | 66
MCB,DP;32A;230/415VAC;DIN RAIL;10 KA | CUPBOARD . NO 04 (BOF) | 72
CKT BRKR,MINI,DP,40 A,230/415 VAC,10 KA | CUPBOARD . NO 04 (BOF) | 5
MCB 2P-C-25A | CUPBOARD . NO 04 (BOF) | 36
MCB 2P-C-40A | CUPBOARD . NO 04 (BOF) | 30
MCB,TP;63A;415VAC;DIN RAIL;15 KA | CUPBOARD . NO 04 (BOF) | 84
MCB 3P-C-6A | CUPBOARD . NO 04 (BOF) | 48
MCB 3P-C-16A | CUPBOARD . NO 04 (BOF) | 8
CKT BRKR,MINI,4 P,16 A,415 VAC,15 KA | CUPBOARD . NO 04 (BOF) | 21
CKT BRKR,MINI,FP,32 A,230/415 VAC,10 KA | CUPBOARD . NO 04 (BOF) | 192
MCB 4P-C-16A | CUPBOARD . NO 04 (BOF) | 9
MCB 4P-C-25A | CUPBOARD . NO 04 (BOF) | 9
MCB,FP;63A;230/415VAC;DIN RAIL;10 KA | CUPBOARD . NO 04 (BOF) | 27
RCBO 4P-C-32A | CUPBOARD . NO 04 (BOF) | 23
BRG,BALL;6205 ZZ C3 | CUPBOARD . NO 05 (BOF) | 10
BRG,BALL;6204 ZZ | CUPBOARD . NO 05 (BOF) | 4
BRG,BALL;6202 ZZ C3 | CUPBOARD . NO 05 (BOF) | 2
BRG,BALL;6207 ZZ | CUPBOARD . NO 05 (BOF) | 11
BRG,DGB;6208 ZZ C3 | CUPBOARD . NO 05 (BOF) | 1
BRG,BALL;6209 ZZ C3 | CUPBOARD . NO 05 (BOF) | 53
BRG,BALL;6309 C3 | CUPBOARD . NO 05 (BOF) | 27
BRG,DGB;6210 ZZ C3 | CUPBOARD . NO 05 (BOF) | 18
BRG,RLLR BALL DEEP GROOVE;6310 2Z | CUPBOARD . NO 05 (BOF) | 9
BRG,BALL;6212 ZZ C3 | CUPBOARD . NO 05 (BOF) | 19
BRG,DEEP GROOVE BALL;6312/C3 | CUPBOARD . NO 05 (BOF) | 2
BRG,BALL;6213 ZZ C3 | CUPBOARD . NO 05 (BOF) | 25
BRG,BALL;6313 ZZ C3 | CUPBOARD . NO 05 (BOF) | 13
BRG,BALL;6315 ZZ C3 | CUPBOARD . NO 05 (BOF) | 2
BRG,BALL;6316 C3 | CUPBOARD . NO 05 (BOF) | 5
BRG,BALL;6216 ZZ C3 | CUPBOARD . NO 05 (BOF) | 10
BRG,BALL;6317 ZZ | CUPBOARD . NO 05 (BOF) | 15
BRG,BALL;6318 C3 | CUPBOARD . NO 05 (BOF) | 5
BRG,CYR;NJ 310 ECJ | CUPBOARD . NO 05 (BOF) | 25
BRG,CYR;NJ 313 ECM | CUPBOARD . NO 05 (BOF) | 13
BRG,BALL;6217 ZZ | CUPBOARD . NO 05 (BOF) | 1
BRG,BALL;6004 ZZ C3 | CUPBOARD . NO 05 (BOF) | 4
BRG,BALL;6206 ZZ C3 | CUPBOARD . NO 05 (BOF) | 14
BRG,DGB;6208 ZZ C3 | CUPBOARD . NO 05 (BOF) | 2
BRG,BALL;6209 ZZ | CUPBOARD . NO 05 (BOF) | 8
BRG,CYR;NU 319 ECJ | CUPBOARD . NO 05 (BOF) | 4
BRG,DGB;6210 ZZ C3 | CUPBOARD . NO 05 (BOF) | 2
BRG,DEEP GROOVE BALL;6312/C3 | CUPBOARD . NO 05 (BOF) | 6
BRG,BALL;6305 ZZ C3 | CUPBOARD . NO 05 (BOF) | 4
BRG,BALL ROLLER,6208 ZZ | CUPBOARD . NO 05 (BOF) | 4
BRG,DGB;6319 | CUPBOARD . NO 05 (BOF) | 4
BRG,BALL;6309 C3 | CUPBOARD . NO 05 (BOF) | 15
BRG,BALL;6212 ZZ C3 | CUPBOARD . NO 05 (BOF) | 16
BRG,BALL,6228 C3 | CUPBOARD . NO 05 (BOF) | 1
BRG,BALL;6318 C3 | CUPBOARD . NO 05 (BOF) | 4
BRG,BALL;6004 ZZ C3 | CUPBOARD . NO 05 (BOF) | 4
BRG,DGB;6208 ZZ C3 | CUPBOARD . NO 05 (BOF) | 2
BRG,BALL;6209 ZZ | CUPBOARD . NO 05 (BOF) | 8
BRG,CYR;NU 319 ECJ | CUPBOARD . NO 05 (BOF) | 4
BRG,DGB;6210 ZZ C3 | CUPBOARD . NO 05 (BOF) | 2
BRG,DEEP GROOVE BALL;6312/C3 | CUPBOARD . NO 05 (BOF) | 6
BRG,BALL;6305 ZZ C3 | CUPBOARD . NO 05 (BOF) | 4
BRG,BALL ROLLER,6208 ZZ | CUPBOARD . NO 05 (BOF) | 4
BRG,DGB;6319 | CUPBOARD . NO 05 (BOF) | 4
BRG,BALL,6228 C3 | CUPBOARD . NO 05 (BOF) | 1
BRG,BALL;6318 C3 | CUPBOARD . NO 05 (BOF) | 4
BRG,BALL;6315 C3 | CUPBOARD . NO 05 (BOF) | 12
Dry Gas Analyser | CUPBOARD . NO 06 (BOF) | 1
Dry Gas Analyser | CUPBOARD . NO 06 (BOF) | 1
Postnr (seiamics) | CUPBOARD . NO 06 (BOF) | 4
RID-Transmitter (Endress +Hauser) | CUPBOARD . NO 06 (BOF) | 3
Temperature Transmitter | CUPBOARD . NO 06 (BOF) | 2
Electropneumatic Positioner (Samson) | CUPBOARD . NO 06 (BOF) | 2
Temperature Transmitter | CUPBOARD . NO 06 (BOF) | 5
Psi Switch | CUPBOARD . NO 06 (BOF) | 1
Psi Switch | CUPBOARD . NO 06 (BOF) | 3
Water Leveal Sensors (Baumer) | CUPBOARD . NO 06 (BOF) | 2
Crimping Tool | CUPBOARD . NO 06 (BOF) | 2
TRSMTR,TEMP,PROGRAMMED;4-20 MA;SRFC MNTG | CUPBOARD . NO 06 (BOF) | 40
ADPTR,COMCN,USB TO SERIAL,3.5VDC,RADIX | CUPBOARD . NO 06 (BOF) | 15
COIL,230V,5VA,P#G25,+LED CONNECTR,F/VLV | CUPBOARD . NO 06 (BOF) | 9
IFM -Flow Switch (SI5000) | CUPBOARD . NO 06 (BOF) | 16
IFM -Flow Switch (PN-2093) | CUPBOARD . NO 06 (BOF) | 5
IFM -Flow Switch (4 Pin Wire Connector) | CUPBOARD . NO 06 (BOF) | 20
Lance Lodcell Pin Module -5000 CAHV) | CUPBOARD . NO 06 (BOF) | 3
4 Pin Connector (Sensors) | CUPBOARD . NO 06 (BOF) | 4
LUG RING TYPE 2.5sqmm | CUPBOARD . NO 07 (BOF) | 1000
LUG PIN TYPE 1.5sqmm | CUPBOARD . NO 07 (BOF) | 600
LUG U TYPE 1.5sqmm | CUPBOARD . NO 07 (BOF) | 400
LUG RING TYPE 1.5sqmm | CUPBOARD . NO 07 (BOF) | 650
LUG PIN TYPE 2.5sqmm | CUPBOARD . NO 07 (BOF) | 500
LUG PIN TYPE 4sqmm | CUPBOARD . NO 07 (BOF) | 100
LUG RING TYPE 4sqmm | CUPBOARD . NO 07 (BOF) | 200
LUG 10sqmm | CUPBOARD . NO 07 (BOF) | 150
LUG 16 sqmm | CUPBOARD . NO 07 (BOF) | 10
LUG 25 sqmm | CUPBOARD . NO 07 (BOF) | 130
LUG 35sqmm | CUPBOARD . NO 07 (BOF) | 185
LUG 50 sqmm | CUPBOARD . NO 07 (BOF) | 200
LUG 70sqmm | CUPBOARD . NO 07 (BOF) | 75
LUG 95 sqmm | CUPBOARD . NO 07 (BOF) | 30
LUG 120 sqmm | CUPBOARD . NO 07 (BOF) | 50
LUG 150 sqmm | CUPBOARD . NO 07 (BOF) | 30
LUG 185 sqmm | CUPBOARD . NO 07 (BOF) | 40
LUG PIN TYPE 2.5 sqmm | CUPBOARD . NO 07 (BOF) | 530
LUG PIN TYPE 1.5 sqmm | CUPBOARD . NO 07 (BOF) | 490
LUG U TYPE 2.5 sqmm | CUPBOARD . NO 07 (BOF) | 400
LUG 10 sqmm | CUPBOARD . NO 07 (BOF) | 286
LUG 16 sqmm | CUPBOARD . NO 07 (BOF) | 340
LUG 25sqmm | CUPBOARD . NO 07 (BOF) | 60
LUG 35 sqmm | CUPBOARD . NO 07 (BOF) | 30
LUG 50 sqmm | CUPBOARD . NO 07 (BOF) | 0
LUG 70 sqmm | CUPBOARD . NO 07 (BOF) | 40
LUG 95 sqmm | CUPBOARD . NO 07 (BOF) | 69
LUG 120 sqmm | CUPBOARD . NO 07 (BOF) | 40
LUG 150 sqmm | CUPBOARD . NO 07 (BOF) | 25
LUG 185 sqmm | CUPBOARD . NO 07 (BOF) | 15
LUG 240 sqmm | CUPBOARD . NO 07 (BOF) | 18
LUG 300 sqmm | CUPBOARD . NO 07 (BOF) | 12
6sqmm | CUPBOARD . NO 07 (BOF) | 500
16sqmm | CUPBOARD . NO 07 (BOF) | 40
25sqmm | CUPBOARD . NO 07 (BOF) | 130
35sqmm | CUPBOARD . NO 07 (BOF) | 140
50sqmm | CUPBOARD . NO 07 (BOF) | 45
70sqmm | CUPBOARD . NO 07 (BOF) | 90
95sqmm | CUPBOARD . NO 07 (BOF) | 25
120sqmm | CUPBOARD . NO 07 (BOF) | 20
150sqmm | CUPBOARD . NO 07 (BOF) | 50
10sqmm | CUPBOARD . NO 07 (BOF) | 130
16sqmm | CUPBOARD . NO 07 (BOF) | 120
25sqmm | CUPBOARD . NO 07 (BOF) | 135
50sqmm | CUPBOARD . NO 07 (BOF) | 84
70sqmm | CUPBOARD . NO 07 (BOF) | 80
95sqmm | CUPBOARD . NO 07 (BOF) | 68
185sqmm | CUPBOARD . NO 07 (BOF) | 30
240sqmm | CUPBOARD . NO 07 (BOF) | 20
300sqmm | CUPBOARD . NO 07 (BOF) | 12
LUG,ELECL,RING,2.5MM2,4MM,CU,RSI-7071 | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,RING,2.5MM2,8MM,CU,RSI7079 | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,FORK,2.5MM2,CU,INSLTD,FI-928 | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,FERL,END SLNG,0.5SQ.MM,CU | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,BOOTL/,0.75MM2,0.8MM,10MM,CU | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,RING,4-6MM2,4MM,CU,RSI7083 | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,RING,4-6MM2,10MM,RSI7099 | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,RING,4-6MM2,6MM,RSI7092 | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,RING,10 MM2,CU,6.4 MM,8 MM | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,TUBE TRMNL,16 MM2,CU,CUS09 | CUPBOARD . NO 07 (BOF) | 1000
LUG,ELECL,RING,25 MM2,8 MM,16 MM,RS-7034 | CUPBOARD . NO 07 (BOF) | 500
LUG,ELECL,RING,25 SQMM,10.2 MM,CU | CUPBOARD . NO 07 (BOF) | 2000
LUG,ELECL,RING,35 MM2,8.2 MM,CU | CUPBOARD . NO 07 (BOF) | 600
LUG,ELECL,RING,35 MM2,10.5 MM,CU | CUPBOARD . NO 07 (BOF) | 1000
LUG,ELECL,RING,50 MM2,16 MM,CU | CUPBOARD . NO 07 (BOF) | 250
LUG,ELECL,RING,50 MM2,CU,R-042 | CUPBOARD . NO 07 (BOF) | 250
LUG,ELECL,RING,70 MM2,16 MM,CU | CUPBOARD . NO 07 (BOF) | 250
LUG,ELECL,RING,70 MM2,CU,CUS-17,DOWELLS | CUPBOARD . NO 07 (BOF) | 250
LUG,ELECL,RING,70MM2,16.2MM,CU,HR7142 | CUPBOARD . NO 07 (BOF) | 250
LUG,ELECL,RING,95MM2,13MM,TINNED CU | CUPBOARD . NO 07 (BOF) | 150
LUG,ELECL,RING,95MM2,16 MM,20 MM,CU | CUPBOARD . NO 07 (BOF) | 150
LUG,ELECL,RING,120 MM2,16 MM,22 MM,CU | CUPBOARD . NO 07 (BOF) | 70
LUG,ELECL,RING,150MM2,16.2MM,CU | CUPBOARD . NO 07 (BOF) | 100
LUG,ELECL,RING TYPE,185 SQMM,HAS234 | CUPBOARD . NO 07 (BOF) | 100
Encoder Heavy Duty Incremental | CUPBOARD . NO 09( BOF) | 2
Encoder Heavy Duty Incremental | CUPBOARD . NO 09( BOF) | 2
Encoder Heavy Duty Incremental | CUPBOARD . NO 09( BOF) | 8
Encoder Heavy Duty Incremental | CUPBOARD . NO 09( BOF) | 4
Encoder Industrial Absolite | CUPBOARD . NO 09( BOF) | 1
Vibation Sensors | CUPBOARD . NO 09( BOF) | 10
12 mm (poxi) (sensors) | CUPBOARD . NO 09( BOF) | 125
18 mm (poxi) (NO) (sensors) | CUPBOARD . NO 09( BOF) | 60
18 mm (poxi) (NC) (sensors) | CUPBOARD . NO 09( BOF) | 12
30mm (poxi) (sensors)(2Wire) | CUPBOARD . NO 09( BOF) | 12
(Poxi) Cable | CUPBOARD . NO 09( BOF) | 15
30mm (poxi) (Heat) | CUPBOARD . NO 09( BOF) | 50
18mm(poxi) 24 v (ESP) | CUPBOARD . NO 09( BOF) | 3
30mm (poxi) (Semsors) (3Wire) | CUPBOARD . NO 09( BOF) | 3
30mm (poxi) | CUPBOARD . NO 09( BOF) | 20
Motor Checker | CUPBOARD . NO 09( BOF) | 25
RJ 45 Convrtor | CUPBOARD . NO 09( BOF) | 1
Drill Machine Better | CUPBOARD . NO 09( BOF) | 30
Drill MachineNormal | CUPBOARD . NO 09( BOF) | 2
Joystick | CUPBOARD . NO 09( BOF) | 2
Joystick | CUPBOARD . NO 09( BOF) | 2
3TF 49 Power Connetor | CUPBOARD . NO 11( BOF) | 1
185-30-185A(ABB) Power Connetor | CUPBOARD . NO 11( BOF) | 1
MCCB 4P 160 A | CUPBOARD . NO 11( BOF) | 1
170 M6629 -18 -Fuse | CUPBOARD . NO 11( BOF) | 6
Semi Cndctr -560 A Fuse | CUPBOARD . NO 11( BOF) | 3
Class Fuse 500 MA | CUPBOARD . NO 11( BOF) | 400
Class Fuse 1 A | CUPBOARD . NO 11( BOF) | 450
Class Fuse 2 A | CUPBOARD . NO 11( BOF) | 450
fuse (HRC) 400 A | CUPBOARD . NO 11( BOF) | 9
fuse (HRC) 50 A | CUPBOARD . NO 11( BOF) | 18
Fuse (HRC) 32 A | CUPBOARD . NO 11( BOF) | 12
Semi Cndctr-16 A | CUPBOARD . NO 11( BOF) | 36
Push Button (White ) | CUPBOARD . NO 11( BOF) | 6
24V AC LED Light | CUPBOARD . NO 11( BOF) | 10
Fuse (HRC) 160 A | CUPBOARD . NO 11( BOF) | 3
Semi Cndctr (UPS) | CUPBOARD . NO 11( BOF) | 3
PCB Card (USP) | CUPBOARD . NO 11( BOF) | 1
LOTO TAG | CUPBOARD . NO 11( BOF) | 30
Rico-Werk | CUPBOARD . NO 11( BOF) | 1
Auto Data cord (ESP) | CUPBOARD . NO 11( BOF) | 2
UNT -Gerate | CUPBOARD . NO 11( BOF) | 2
Universal Transmitter | CUPBOARD . NO 11( BOF) | 5
Limit Swich | CUPBOARD . NO 11( BOF) | 6
Limit Swich | CUPBOARD . NO 11( BOF) | 2
Limit Swich | CUPBOARD . NO 11( BOF) | 1
Limit Swich | CUPBOARD . NO 11( BOF) | 2
Limit Swich | CUPBOARD . NO 11( BOF) | 1
Elektronischer Druckschalter | CUPBOARD . NO 11( BOF) | 4
Vibasion Sensors Cable | CUPBOARD . NO 11( BOF) | 160
Magnets Sensors | CUPBOARD . NO 11( BOF) | 2
Thermo couple | CUPBOARD . NO 11( BOF) | 4
Hydac Swich | CUPBOARD . NO 11( BOF) | 2
ESP Frack Flug | CUPBOARD . NO 11( BOF) | 3
Frack Flug Cable | CUPBOARD . NO 11( BOF) | 2
ESP Control Room (ESP-1 MCC) Check List | CUPBOARD . NO 12 (BOF) | 5
LF MCC Room check List | CUPBOARD . NO 12 (BOF) | 4
Substation (# 1 )2 nd Floor Check List | CUPBOARD . NO 12 (BOF) | 6
Inspection CheckList Of Dry Gas Analyser | CUPBOARD . NO 12 (BOF) | 4
Substation (# 1 )4th Floor Check List | CUPBOARD . NO 12 (BOF) | 6
Inspection CheckList OfLaser Analyser | CUPBOARD . NO 12 (BOF) | 7
Transformers Check List (SMS #2 BOF EA) | CUPBOARD . NO 12 (BOF) | 8
Electonic Timer | CUPBOARD . NO 12 (BOF) | 2
Power Contactor (ABB) | CUPBOARD . NO 12 (BOF) | 12
Power Contactor (ABB) | CUPBOARD . NO 12 (BOF) | 20
Aux Contactor (ABB) | CUPBOARD . NO 12 (BOF) | 5
Power Contactor (ABB) | CUPBOARD . NO 12 (BOF) | 8
Add -Block | CUPBOARD . NO 12 (BOF) | 9
Add -Block | CUPBOARD . NO 12 (BOF) | 29
MPCB | CUPBOARD . NO 12 (BOF) | 2
MPCB | CUPBOARD . NO 12 (BOF) | 4
MPCB | CUPBOARD . NO 12 (BOF) | 5
Power Contactor (ABB) | CUPBOARD . NO 12 (BOF) | 5
Power Contactor (ABB) | CUPBOARD . NO 12 (BOF) | 1
Power Contactor (ABB) | CUPBOARD . NO 12 (BOF) | 4
Aux Contactor (ABB) | CUPBOARD . NO 12 (BOF) | 4
Add -Block | CUPBOARD . NO 12 (BOF) | 34
Single funation Meter | CUPBOARD . NO 12 (BOF) | 20
MCCB | CUPBOARD . NO 12 (BOF) | 4
MCCB | CUPBOARD . NO 12 (BOF) | 5
MCCB | CUPBOARD . NO 12 (BOF) | 5
Power Conectator (ABB) | CUPBOARD . NO 12 (BOF) | 1
110 V 6A Riley | CUPBOARD . NO 12 (BOF) | 150
Gland 015 | CUPBOARD . NO 12 (BOF) | 50
Gland 035 | CUPBOARD . NO 12 (BOF) | 16
Gland16 MM | CUPBOARD . NO 12 (BOF) | 30
Gland 05 | CUPBOARD . NO 12 (BOF) | 12